### Riello Accessory Kit

RB Gas Booster Accessory

AV Mount & Flexible Connector Kit for RB100/200 Boosters

# Kit Code 3000101

| Item | Description | Quantity |
| --- | --- | --- |
| 1 | DN50 (2”) PN16 Flexible Connector. 250 mm long. | 2 |
| 2 | DN50 (2”) Gasket | 2 |
| 3 | Anti-vibration Mount | 4 |
| 4 | M8 x 25 Hex Head Screw | 4 |
| 5 | M8 Plain Washer | 4 |
| 6 | M16 x 65 Hex Head Bolt | 8 |
| 7 | M16 Plain Hex Nut | 8 |
| 8 | M16 Plain Washer | 16 |

# Text boxes

1

5

6

3

4

2

8

7