Riello Accessory Kit

RB Gas Booster Accessory

# AV Mount & Flexible Connector Kit for RB300 Booster

# Kit Code 3000301

| Item | Description | Quantity |
| --- | --- | --- |
| 1 | DN50 (2”) PN16 Flexible Connector. 250 mm long. | 1 |
| 2 | DN80 (3”) PN16 Flexible Connector. 250 mm long. | 1 |
| 3 | DN50 (2”) Gasket | 1 |
| 4 | DN80 (3”) Gasket | 1 |
| 5 | Anti-vibration Mount | 4 |
| 6 | M8 x 25 Hex Head Screw | 4 |
| 7 | M8 Plain Washer | 4 |
| 8 | M16 x 65 Hex Head Bolt | 12 |
| 9 | M16 Plain Hex Nut | 12 |
| 10 | M16 Plain Washer | 24 |

# Text boxes

1

2

3

4

5

7

6

8

9

10